H2O + LiBr + H2N(CH2)2OH ¹× H2O + LiBr + HO(CH2)3OH °èÀÇ ºñ¿ÃøÁ¤

±è Áø ¼ö ,  ¹Ú  ¿µ,  ÀÌ   Èç

ÇÑ±¹°úÇÐ±â¼ú¿ø ÈÇÐ°øÇÐ°ú

Heat Capacities of the Water + Lithium Bromide + Ethanolamine  and Water + Lithium Bromide + 1,3-propanediol Systems

Jin-Soo Kim, Young Park, and Huen Lee*

Dept. of  Chem. Eng.  KAIST

Introduction

Various new working fluids for absorption heat pump have been developed to improve the performance characteristic of the conventional lithium bromide + water system or satisfy specific conditions for various types of heat pump [1]. A general procedure of checking the validity of a new working fluid includes the measurements of various basic thermodynamic properties of the solution [2]. These properties are essential to evaluation the performance of the working fluid and to optimal design of a desired type of heat pump. In the previous studies we measured several physical properties of the water + lithium bromide + ethanolamine system [3,4] and the lithium bromide + 1,3-propanediol + water system [5]. In this work heat capacities of these two systems were measured at various concentration and temperature conditions and were correlated with a simple equation. The heat capacity data of electrolyte solutions are generally used to construct enthalpy-concentration chart together with other several properties [6] and this chart is quite often used calculate the amount of heat required or transferred in each unit of heat pump.

Experiment

Isoperibol solution calorimeter (CSC 4300) was used to measure heat capacities of sample solutions. The calorimeter primary consisted of a constant temperature bath, a dewer vessel with a volume of 25 cm3, a calibration heater including 100 W resistor, a thermistor, and a stirring rod made of glass. The temperature resolution of the calorimeter was 2 moC, the temperature noise level ± 30 moC, and the bath temperature stability ± 0.0005 K. Accurately weighted sample solution (25 cm3) of a desired concentration was placed into the dewer vessel. The thermistor, calibration heater, and stirring rod were immersed when the dewer vessel was clamped on the isoperibol solution calorimeter. The stirrer and heater were then turned on to heat up the sample solution to slightly lower (0.15 K) temperature than desired. After 300 seconds passed from that point, an actual measuring process which consisted of 200 seconds of holding time without heating, 400 seconds of heating, and  200 seconds of  holding time sequentially started. The amount of heat added was set to 10 mcal sec-1 in the heating process and the accurate value of the added heat was calculated through measuring the current and voltage values with a built-in digital voltmeter. The measuring procedure was completely controlled by a computer and the temperature difference during the heating process was also calculated by the computer using the temperature data set recorded with time. The temperature difference value was used to calculate the heat capacity of the sample solution with the following equation.

Q=(mCp+e)DT                                                    (1)

where Q is the total amount of heat added, m the mass of the sample solution, Cp the heat capacity ( in kJ kg-1K-1) of the sample, e the heat capacity (in kJ K-1) of the apparatus including dewer vessel, stirring rod, heater, and thermistor. The value of e was calculated by the experimental result using water as a sample solution and its known heat capacity value at each temperature considered. The experimental apparatus and procedures were tested with the heat capacity data of pure p-xylene at three different temperatures and with heat capacity data of LiBr + H2O aqueous solution at various temperatures and concentrations. The experimental results agreed well with literature data within 1 % relative error.

Results and Discussions

Heat capacities of the water + lithium bromide + ethanolamine (LiBr/H2N(CH2)2 OH mass ratio = 3.5) and water + lithium bromide + 1,3-propanediol (LiBr/HO(CH2)3 OH mass ratio = 3.5) systems were measured at four temperatures (283.15, 298.15, 313.15, and 333.15 K) and concentration ranges of (29.2 to 70.7) % and (30.7 to 68.3) %, respectively. The experimental results were plotted in figure 1 and 2 and simply correlated with the following equation

CpkJkg-1K−1=i=03[(ai+biT+ciT2)(100w)i]                                   (2)

where Cp is the heat capacity, ai, bi,and ci the regression parameters, T the absolute temperature in K, and w the mass fraction of absorbent. The parameters ai, bi and ci were determined by a least-squares method and were listed in Table 1. The average absolute deviations between the experimental and calculated values were 0.21 % for the water + lithium bromide + ethanolamine system and 0.15 % for the water + lithium bromide + 1,3-propanediol system. The heat capacity of the solutions decreased with increasing absorbent concentration, that was because of the amount of the water (with high value of heat capacity) contained, and slightly increased with increasing temperature showing that the increasing trends became slower as the concentration was lowered.

Table 1. Values of ai, bi, and ci for Least-Squares Representation by Equation (2).

| H2O+LiBr+H2N(CH2)2OH | H2O+LiBr+HO(CH2)3OH |
| --- | --- |
| a0 -3.82624 ´ 101 a1 2.75275 a2 -5.80310 ´ 10-2 a3 3.82253 ´ 10-4 b0 2.70014 ´ 10-1 b1 -1.77827 ´ 10-2 b2 3.68858 ´ 10-4 b3 -2.42095 ´ 10-6 c0 -4.27412 ´ 10-4 c1 2.81813 ´ 10-5 c2 -5.82845 ´ 10-7 c3 3.82093 ´ 10-9 | 2.26523 2.18262 ´ 10-1 -1.16369 ´ 10-2 1.28712 ´ 10-4 1.52974 ´ 10-2 -1.80602 ´ 10-3 7.59334 ´ 10-5 -8.19097 ´ 10-7 -2.78971 ´ 10-5 3.07439´ 10-6 -1.22269 ´ 10-7 1.30347 ´ 10-9 |

For the practical application of the selected solutions to real working fluids, additional studies on corrosion problem, heat and mass transfer characteristics, cost evaluation, and so on should be further carried out.

Fig. 1. Heat Capacities of the H2O(1) + LiBr(2) + H2N(CH2)2OH(3) (w2/w3 = 3.5) System: l, w2+3 = 0.292; n, w2+3 = 0.403; s, w2+3 = 0.499; t, w2+3 = 0.605; u, w2+3 = 0.707

Fig. 2. Heat Capacities of the H2O(1) + LiBr(2) + HO(CH2)3OH (4) (w2/w4 = 3.5) Systems: l, w2+4 = 0.307; n, w2+4 = 0.405; s, w2+4 = 0.506; t, w2+4 = 0.608; u, w2+4 = 0.683.

References

1. Hihara, E.: Reito, 68, 693(1993).

2. Uemura, T.: Reito, 68, 699(1993).

3. Kim, J.-S., Park, Y., and Lee, H.: J. Chem. Eng. Data, 41, 279(1996).

4. Kim, J.-S., Park, Y., and Lee, H.: J. Chem. Eng. Data, 41, 678(1996).

5. Park,Y., Kim J.-S., Lee H.: Int. J. Refrig., submitted.

6. McNeely, L. A.: ASHRAE Transactions, 3, 413(1979).